Baikoff KCN and DEI normal Data sets analyzed done on 2007/11/27

Average values

| µm | # of Eyes | # of pts | I-S | IT-SN | Min | Min-max | BSCVA 20/x | Steep K diopter |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Normal | 36 | 18 | -8.2±15.9 | -14.2±13.7 | 543.2±32.2 | -64±15.3 | 20/19.0±3.5 | 43.9±1.5 |
| KCN | 30 | 21 | -11.4±38.9 | -25±44.9 | 442.2± 52 | -122.0±46.4 | 20/62.7±92.6 | 50.6±6.26 |
| FFKCN | 14 | 11 | -18.4±18 | -31.9±8.9 | 471.4±28.4 | -76.1±25.3 | 20/36.8±47.4 | 47.3±3.95 |

Visante OCT pachymetry map threshold values

| µm | I-S | IT-SN | Min | Min-max |
| --- | --- | --- | --- | --- |
| 1% | -45.2 | -46.2 | 468.2 | -99.6 |
| 5% | -34.4 | -36.9 | 490.1 | -89.2 |

1% cutoff percentile (mean-2.33SD)

|  | KCN | FFKCN |
| --- | --- | --- |
|  | I-S | IT-SN | Min | Min-max | I-S | IT-SN | Min | Min-max |
| Sensitivity | 0.13 | 0.23 | 0.77 | 0.63 | 0.07 | 0.07 | 0.43 | 0.07 |
| Specificity | 0.97 | 1 | 0.97 | 1 | 0.97 | 1 | 0.97 | 1 |
| AROC |  |  |  |  |  |  |  |  |

1 or 2 OCT criteria

|  | KCN | FFKCN |
| --- | --- | --- |
|  | 1 OCT criteria | 2 OCT criteria | 1 OCT criteria | 2 OCT criteria |
| Sensitivity | 0.87 | 0.63 | 0.5 | 0.14 |
| Specificity | 0.94 | 1 | 0.94 | 1 |
| AROC |  |  |  |  |

5% cutoff percentile (mean-1.65SD)

|  | KCN | FFKCN |
| --- | --- | --- |
|  | I-S | IT-SN | Min | Min-max | I-S | IT-SN | Min | Min-max |
| Sensitivity | 0.2 | 0.3 | 0.83 | 0.73 | 0.29 | 0.29 | 0.79 | 0.21 |
| Specificity | 0.97 | 0.94 | 0.94 | 0.92 | 0.97 | 0.94 | 0.94 | 0.92 |
| AROC |  |  |  |  |  |  |  |  |

1 or 2 OCT criteria

|  | KCN | FFKCN |
| --- | --- | --- |
|  | 1 OCT criteria | 2 OCT criteria | 1 OCT criteria | 2 OCT criteria |
| Sensitivity | 0.9 | 0.73 | 1 | 0.357143 |
| Specificity | 0.83 | 0.94 | 0.833333 | 0.944444 |
| AROC |  |  |  |  |

Data analyze done on 2007/10/26, just for backup purpose:

Average values

| µm | # of Eyes | I-S | IT-SN | Min | Min-max | location of the min |
| --- | --- | --- | --- | --- | --- | --- |
| Normal | 36 | -8.2±15.9 | -14.2±13.7 | 543.2±32.2 | -64±15.3 |  |
| KCN | 53 | -14.1±34.5 | -26.5±35.6 | 462.7± 55.6 | -103.1±43.2 |  |

Visante OCT pachymetry map threshold values

| µm | I-S | IT-SN | Min | Min-max | location of the min |
| --- | --- | --- | --- | --- | --- |
| 1% | -45.2 | -46.2 | 468.2 | -99.6 | 2-5 mm zone |
| 5% | -34.4 | -36.9 | 490.1 | -89.2 | 2-5 mm zone |

1% cutoff percentile (mean-2.33SD)

|  | I-S | IT-SN | Min | Min-max | location of the min |
| --- | --- | --- | --- | --- | --- |
| Sensitivity | 0.150943 | 0.188679 | 0.584906 | 0.433962 | 0.264151 |
| Specificity | 0.972222 | 1 | 0.972222 | 1 | 0.805556 |
| AROC |  |  |  |  |  |

1 or 2 OCT criteria

|  | 1 OCT criteria | 2 OCT criteria |
| --- | --- | --- |
| Sensitivity | 0.830189 | 0.471698 |
| Specificity | 0.777778 | 0.972222 |
| AROC |  |  |

Exclude “location of the min”, “OR” logic, sensitivity = 0.72, specificity = 0.94

5% cutoff percentile (mean-1.65SD)

|  | I-S | IT-SN | Min | Min-max | location of the min |
| --- | --- | --- | --- | --- | --- |
| Sensitivity | 0.264151 | 0.301887 | 0.716981 | 0.54717 | 0.264151 |
| Specificity | 0.972222 | 0.944444 | 0.944444 | 0.916667 | 0.805556 |

1 or 2 OCT criteria

|  | 1 OCT criteria | 2 OCT criteria |
| --- | --- | --- |
| Sensitivity | 0.943396 | 0.622642 |
| Specificity | 0.75 | 0.916667 |

Exclude “location of the min”, “OR” logic, sensitivity = 0.89, specificity = 0.83